SPANNER WRENCH SET

A Task Force Tips model #A3810 spanner wrench set shall be provided. The set shall include four (4) lightweight aluminum wrenches model # A3890 that fit virtually any 1" through 6" Storz, rocker lug or long handle fire hose couplings and a mounting bracket model # A3815. The wrench shall have an adjustable tab for releasing of Storz coupling locks. The unit shall be covered by a five-year warranty.

Location of mounting bracket shall be: